General Specifications for:

A.R.K. Ramos Architectural Signage Systems

1321 South Walker

Oklahoma City, OK 73109

Phone:405-235-5505

Fax: 405-232-8516

Website: ARKRAMOS.COM

PART 1-GENERAL

1.01	RELATED DOCUMENTS:

A.	Drawings and general provisions of the Contract, including General 	Supplementary Conditions 	and Division 1 Specification Sections, apply to this section.

1.02	QUALITY ASSURANCE:

A. 	Uniformity of Manufacturer: For each sign form and graphic image process indicated, furnish 	products of single manufacturer.

1.03	SUBMITTALS:

A. 	General: Submit the following according to the Conditions of the Contract and  Division 1 		Specification Sections.

B.	Shop Drawings: Submit scaled shop drawings showing fabrication method, finish, anchoring 	methods, layout, and installation method.

PART 2-PRODUCTS

2.01	CAST PLAQUE:

A.	Scope:  The project shall include a cast plaque to be installed by owner or contractor with 	actual design and lettering for the plaque to be determined by owner.

B.	Acceptable Manufacturer:  Subject to compliance with requirements, provide 	products 	manufactured by A.R.K. Ramos Architectural Signage Systems, Oklahoma City Oklahoma, 	Toll Free 1-800-725-7266, Fax 405-232-8516.

C.	Characteristics:

1. Plaque Material ___________________________________

2. Plaque Size ______________________________________

3. Letter Style ______________________________________

4. Border Style ______________________________________

5. Background Texture ________________________________

6. Plaque Finish _____________________________________

7. Plaque Mounting __________________________________

2.02	ETCHED PLAQUE:

A.	Scope:  The project shall include a acid etched plaque to be installed by owner or 	contractor with actual design and lettering for the plaque to be determined by 	owner.

B.	Acceptable Manufacturer:  Subject to compliance with requirements, provide 	products 	manufactured by A.R.K. Ramos Architectural Signage Systems, Oklahoma City Oklahoma, 	Toll Free 1-800-725-7266, Fax 405-232-8516.

C.	Characteristics:

1. Plaque Material ___________________________________

2. Plaque Size ______________________________________

3. Plate Thickness____________________________________

4. Letter Style ______________________________________

5. Border Style ______________________________________

6. Plaque Finish _____________________________________

7. Plaque Mounting __________________________________

2.02	CAST LETTERS:

A.	Scope:  The project shall include a cast letters as described below, to be installed by owner or 	contractor.  Letterstyle, finish and mounting to be determined by owner.

B.	Acceptable Manufacturer:  Subject to compliance with requirements, provide 	products 	manufactured by A.R.K. Ramos Architectural Signage Systems, Oklahoma City Oklahoma,Toll 	Free 1-800-725-7266, Fax 405-232-8516.

C.	Fabrication of Letters: Fabricate letters to comply with requirements indicated below and as	indicated on drawings.

1.  Cast letters :  Form letters by sand casting.  Produce characters with smooth  flat faces, sharp 	corners, precisely formed lines and profiles, free from pits,  scale, sand holes and other defects.  	Cast anchoring devices into individual letters as required for anchorage.

D.	Characteristics:

1. Metal:____________________________________________

2. Size: _____________________________________________

3. Letterstyle ________________________________________

4. Finish ____________________________________________

5. Mounting _________________________________________

6. Text _____________________________________________

E.	Template: Provide full size paper mounting template showing hole placement 	and location of 	mounting holes.

F.	Finishes:  Colors and surface textures for exposed letters as selected by the architect from the 	manufacturer’s standards.

2.03	PRECISION CUT LETTERS:

A.	Scope:  The project shall include a cast letters as described below, to be installed by owner or 	contractor.  Letterstyle, finish and mounting to be determined by  owner.

B.	Acceptable Manufacturer:  Subject to compliance with requirements, provide 	products 	manufactured by A.R.K. Ramos Architectural Signage Systems, Oklahoma City Oklahoma,Toll 	Free 1-800-725-7266, Fax 405-232-8516.

C.	Fabrication of Letters: Fabricate letters to comply with requirements indicated  below and as	indicated on drawings.

1.  Cut letters :  Form letters by cutting from solid sheet material of thickness 	specified.  	Produce characters with smooth flat faces, sharp corners, precisely  formed lines and profiles, 	free from pits, scale, sand holes and other defects.  	Supply anchoring devices on reverse side of 	individual letters as required.

D.	Characteristics:

1. Metal:____________________________________________

2. Size: _____________________________________________

3. Thickness_________________________________________

4. Letterstyle ________________________________________

5. Finish ____________________________________________

6. Mounting _________________________________________

7. Text _____________________________________________

E.	Template: Provide full size paper mounting template showing hole placement 	and location of 	mounting holes.

F.	Finishes:  Colors and surface textures for exposed letters as selected by the architect from the 	manufacturer’s standards.

2.04	REVERSE CHANNEL /FABRICATED LETTERS:

A.	Scope:  The project shall include a reverse channel/fabricated letters as  described below, to be 	installed by owner or contractor.  Letterstyle, finish and  mounting to be determined by owner.

B.	Acceptable Manufacturer:  Subject to compliance with requirements, provide 	products 	manufactured by A.R.K. Ramos Architectural Signage Systems, Oklahoma City Oklahoma,Toll 	Free 1-800-725-7266, Fax 405-232-8516.

C.	Fabrication of Letters: Fabricate letters to comply with requirements indicated  below and as	indicated on drawings.

1.  Reverse Channel/Fabricated letters :  Form letters by heliarc welding process  or 	soldering process depending on material chosen.  Produce characters with  smooth flat faces, 	sharp corners, precisely formed lines and profiles, free from  pits, scale, sand holes and other 	defects.  Apply anchoring devices into individual letters as required for anchorage.

2.04	REVERSE CHANNEL /FABRICATED LETTERS:

D.	Characteristics:

1. Metal:____________________________________________

2. Size: _____________________________________________

3. Thickness_________________________________________

4. Letterstyle ________________________________________

5. Finish ____________________________________________

6. Mounting _________________________________________

7. Text _____________________________________________

E.	Template: Provide full size paper mounting template showing hole placement 	and location of 	mounting holes.

F.	Finishes:  Colors and surface textures for exposed letters as selected by the architect from the 	manufacturer’s standards.

PART 3-EXECUTION

3.01	INSTALLATION:

A.	General: locate sign units and accessories where indicated, using mounting methods of the type 	described and in compliance with the manufacturer’s instructions.

1.     Install signs level, plumb, and at the height indicated with sign surfaces free from 	distortion or other defects in appearance.

B.	Cleaning and Protection: After installation, clean soiled sign surfaces according to the 	manufacturer’s instructions.  Protect units from damage until acceptance by the owner.